APPENDIX A

BRITISH STANDARDS AND CODES APPLICABLE

Item 	Code No. 			Description

or

Standard

A1	BS 144				Wood preservation using coal tar creosotes

A2	BS 373				Testing small clear specimens of timber

A3	BS 405				Expanded metal (steel) for general purposes

A4	BS 497				Manhole covers, road gully gratings and frames for drainage purposes

A5	BS 5911			Precast concrete pipes, fittings and ancillary products

A6	BS 648				Schedule of weights of building materials

A7	BS 690				Asbestos-cement slates and sheets

A8	BS 8004:1986			Code of practice for foundations

A9	BS 915				High alumina cement

A10	BS 6925			Mastic asphalt (limestone aggregate)

A11	BS 1187			Wood blocks for floors

A12	BS 1191			Gypsum building plasters

A13	BS 1200			Sands for mortar for plain and reinforced brickwork, block walling and masonry

A14	BS 1230			Gypsum plasterboard

A15	BS 1282			Guide to the choice, use and application of wood preservatives

A16  	BS 1297			Grading and sizing of softwood flooring

A17	BS 1369			Metal lathing (steel) for plastering

A18	BS 1370			Low heat Portland cement

A19	BS 1521			Waterproof building papers

A20	BS 1579			Timber connectors

A21	BS 6323			Seamless and welded steel tubes

A22	BS 1876			Automatic flushing for urinals

A23	BS 1881			Methods of testing concrete

A24	BS 5135			Arc welding of steels

A25	BS 2994			Cold rolled steel sections

APPENDIX A (Cont'd)

Item 	Code No. 			Description

or

Standard

A26	BS 3260			PVC (vinyl) asbestos floor tiles

A27	BS 3261			Unbacked flexible PVC flooring

A28	BS 3284			Polythene pipe (type 50) for cold water services

A29	BS 3921			Clay brick and blocks

A30	BS 4360			Specification for weldable structural steels

A31	BS 4482			Hard drawn steel wire for the reinforcement of concrete

A32	BS 4483			Steel fabric for the reinforcement of concrete

A33	BS 8000 Part 3			Code of practice for masonry

A34	BS 5268			Structural use of timber

A35	BS 5628			Structural recommendations for load bearing walls

A36	BS 5655			Lifts and service lifts

A37	BS 5950			Structural use of steelwork in building

A38	BS 8110			The structural use of concrete in buildings

A39	BS 8214:1990			Code of practice for fire door assemblies with non-metallic leaves

A40	BS 6399 Part 1			Dead and imposed loads

A41	BS 8000 Part 3			Code of practice for masonry

A42	BS 8000 Part 2			Code of practice for concrete work

A43	BS 8005 Part 1: 1987		Guide to new sewerage construction