SECTION B

DEFINITIONS

In the interest of brevity, words in singular where applicable, shall be constructed to include the plural, and words in plural shall, where applicable, be construed to include the singular.

Access					Entrance or opening.

Accessible				Adequate clearance for inspection, service, repair, and replacement, and within physical reach.

Accessory use				A building or structure, the use of which is incidental to the main building structure.

Addition				Any extension or increase in floor area or height of a building or structure.

Alteration				Any change or modification of construction, arrangement of space, and/or occupancy of a building; or change in the area of cubic contents; a change in equipment.

Application				An application to the Authority for permission to carry out development or for an approval required by the Land Development Control Act and any subsidiary legislation made hereunder including the Building Code of  Grenada.

Approved				Approved by the Authority under the requirements of these Guidelines, including the Director or other designated persons given jurisdiction by these Guidelines.

Area of  storey                                              The gross of such storey measured from the internal faces of external walls or, where there are no walls , to the outside edge of floors

Area of  building                                            The total of the areas of the storeys comprising that building, measured from inside the face of the external walls,

Attic                                                             Shall be taken to mean any space immediately under the roof rafters and above the ceiling  joists of the storey nearest the roof.

Awning					A projecting canopy.

Authority				The Development Control Authority established under the Land Development Control Act or its successor.

Basement                                                       Any storey or part of a storey  where more than                                                                             half of the height from the finished floor to the                                                                              finished ceiling is below the average of associated                                                                         finished ground levels at external walls.

Boundary line				A line dividing one site from another or from a street reservation or other publicly owned space.

Board					See Authority

Building				          Includes any erection or  structure of whatever material and in whatever manner constructed, and any part of a building, and where the context so permits, includes the land on, in or under which the building is situated, but does not include plant or machinery comprised in a building.

Where a building is separated into two or more parts by fire division walls each part may be deemed a separate building for the purpose of this Code.

Building line				The line established by law beyond which no building shall extend.

Building operations			Includes rebuilding operations, structural alterations of, or additions to buildings and any other operations normally undertaken by a person carrying on business as a builder.

Canopy					A covering to an entrance way or walkway fixed to a building.

Car port				          A covering area for sheltering a motor vehicle, not fully enclosed by walls.

Code                                                            The Building Code of  Grenada.

Construction				Unit building or component assembly additive process; includes reconstruction and/or alteration and/or addition to building or structure.

Curtain wall				Any prefabricated assembly of various components to enclose a building usually supported externally from the structural frame, and passing all storeys.

Dangerous building                                     Any building which constitutes a danger to the public safety or to the safety of the occupants or adjacent buildings.

Dead load				The weight of all walls, floors, roofs, partitions and other permanent construction.

Developer				See owner

Development                                                 The carrying out of building, engineering, mining                                                                         or other operations in, on, over or under land, the                                                                          making  of any material change in the use of any                                                                           building  or other land, and the subdivision of land.

Director                                                          The Head of the department or division                                                                                         of Government responsible for physical planning                                                                          and development control.

Dwelling				A building occupied exclusively for residential purposes; for the purposes of these Guidelines, "dwelling" also includes any verandah or porch attached permanently to the building.

Engineer				A person technically qualified to design and supervise the construction of building and civil engineering structures, electrical, mechanical and sanitary installations and systems and who is licensed to practice engineering in Grenada

Equipment				Fixtures, fittings, appliances or apparatus of any sort within or associated with a building whose installation is covered by the requirements of these Guidelines.

Erection				             In relation to buildings includes extension, alteration, re-erection.

Existing building			        Any building constructed or in the course of construction prior to the effective date of these Guidelines.

Fire retardant treated wood		Wood that has been treated to retard spread of flame.

Floor area, gross			         Gross floor area shall be the floor area within the perimeter of the outside walls of the building with no deduction for corridors, stairs, closets, thickness of wall, columns, or other features.

Floor area, net				Net floor area shall be the actual occupied area, not including accessory unoccupied areas or thickness of walls.

Formation level				Finished ground level, see Grade.

Grade					(a)	The average elevation of the ground, paved or unpaved, adjoining a building or structure, at the centre of each exterior wall line.

(b) 	When used in connection with lumber, means a division of sawn lumber into quality classes with respect to its physical and mechanical properties, as defined by the association under whose rules the lumber is controlled.

(c)	When used in connection with structural or reinforcing steel, means the quality and strength of the material as defined by the relevant ASTM or other recognised international standard.

Gross Floor Area			          The total area of floors of all storeys of the building including common halls, stairways, porches, overhanging balconies, and the thickness of  walls.

Ground floor				The lowest storey or part of a storey of a building of which more than 50% of the floor area is above the average of associated finished ground levels at external walls and no part of the floor area is more than 2 feet below such associated ground levels.

Habitable room				A room in a residential unit used for living, eating, sleeping or cooking, but excluding baths, storage spaces or corridors.

Height - building			           The vertical distance from grade to the highest finished roof surface of a flat roof or to the average level to a gable or hip roof.

Height - storey				The vertical distance from top to top of two successive floors or floor and roof.

Height - structure			            The height of a structure erected on the ground shall be the vertical distance from grade to the highest point thereof, and for roof structures shall be the vertical distance from the mean level of the roof to the highest point of such structure. In general the height of a structure shall be its overall height.

Height of a wall				The vertical dimension measured from top of foundation or beam, to top of highest course, with or without tie beam.

Joists					Secondary horizontal supporting members in floors, ceilings, or roof construction.

Lintel					The beam or girder placed over an opening in a wall which supports the construction above.

Live load				Any load imposed or capable of being imposed on a structure other than dead load or wind load.

Load bearing				Any part of a building including foundations bearing a load other than that due to its own weight or to wind pressure.

Lot					A portion or parcel of land shown on the land register or in a deed as a piece or parcel of land or an official subdivision.

Lot line					A line dividing one lot from another or from a street or other public space.

Masonry				             Brick, stone, plain concrete, hollow block, solid block or other similar materials or units bonded together with mortar. Reinforced concrete is not classified as masonry.

Minister                                                   The responsible for physical planning and development control

Occupancy				The purpose for which a building is used or intended to be used. Occupancy is not intended to include tenancy or proprietorship.

Occupied				Shall be construed as though followed by the words "or intended, arranged, or designed to be occupied".

Owner					A purchaser, developer, property holder or any other person, firm or corporation having a vested or contingent interest, or in the case of leased premises, the legal holder of the lease contract, or his/her legal representative, assign or successor, or duly authorised agent of any of the aforesaid.

Parapet					That part of a wall entirely above the roof line.

Partition				           A non-loading vertical separation between rooms or spaces. If such separating construction closes less than three-fourths of the area from wall to wall and floor to ceiling, it shall be considered a decorative separation and not a partition.

Permit					A written authorization by the Authority or Director to proceed with development, construction, alteration, repair, installation or demolition.

Planning Permission			Development permission granted pursuant to the Land   Development  Control Act

Prefabricated				Pre-engineered, fabricated prior to installation or erection.

Rafters					Secondary inclined supporting members in roof construction.

Repair					The making good to or replacement of existing construction in a similar manner to and of similar materials to the original construction.

Room					Any enclosed part of a building not being a lavatory, corridor, hallway, foyer, staircase, escalator, ramp, service area or store.

Sanitary facilities			           The facilities provided in a lavatory in accordance with the requirements of these  Guidelines.

Site					A portion of land registered by title as a unit or a portion of land to which an application to build relates.

Storey					That portion of a building between the upper surface of a floor and the upper surface of the floor next above it, and if there is no floor above it, that portion between the top of that floor and ceiling above it.

Value					Applied to a building or structure means the estimated cost of construction of such building or structure at the date of valuation.