SECTION E

TIMBER CONSTRUCTION

Contents

1.	FOUNDATIONS

1.1	General

1.2	Basic Types

2.	WALLS

2.1	Materials

2.2	Structure

2.3	Cladding

3.	FLOORS

3.1	Structure

Table	E-1	Recommended Minimum Spans and Sizes for Pitch Pine Joists

3.2	Concrete Floors

4.	ROOFS

4.1	Materials

4.2	Layout

4.3	Construction

4.4	Fixing

Figure

E-1	Alternate Foundation for a Small Timber Building

SECTION E

TIMBER CONSTRUCTION

1	FOUNDATIONS

1.1	General

a)	With timber construction, the functions of the foundation are to ensure that the building is adequately supported by the underlying soil, that it is raised off the ground thus inhibiting rotting of the timber, and that it is securely held in position so that it cannot be blown or shaken off of its foundation.

b)	For most timber buildings within the scope of these guidelines the foundations must be firmly pinned to the ground to prevent the building from being moved by high winds.

1.2	Basic Types

a)	For timber buildings there are many forms of foundations which can provide the functions stated above.

b)	Several of these involve a timber post or pile driven into the soil or placed in a hole and concreted. (Fig. E-1)

c)	While this kind of foundation is satisfactory, it has the disadvantage of lack of durability unless special rot resistant timbers, such as Greenheart or specially pressure treated timber are used.

d)	Where this type of material is not readily available, then such foundation types should be avoided and a concrete post used.

e)	The posts should be capped by a termite shield which inhibits termites from invading the building.  It is recommended also that the ground should be treated against termites. This treatment should be repeated periodically.

f)	A more common foundation type consists of a mass concrete pad 1'- 6" x 1'- 6" x 8" thick located not less than 1'- 6" below ground level, (if on marl or soft firm material) supporting a stack of 8" concrete column blocks.  These blocks should be filled and reinforced by 1#  " diameter threaded steel bar which is anchored in the concrete pad and bolted to the sill plate. (Fig. D-5)

Alternatively, a " diameter bolt 12" long may be cast into the column where the threaded " diameter steel bar is not readily available.  (Fig D-4).

g)	This type of foundation, which combines functional adequacy and durability, is the preferred one.

h)	It should be stressed that stacked, unbonded, concrete blocks or stones have very little resistance to uplift or shaking and are not acceptable as proper forms of foundation.

i)	Where a timber building has a reinforced concrete floor slab, then the slab can be constructed as shown in Fig. D-4, and becomes the foundation.

- In such cases, the sill plate should be bolted to the slab by " diameter bolts spaced not more than 3'- 0" apart.  All bolts shall be fitted with 1" diameter washers.

2.	WALLS

2.1	Materials

a)	Walls can be constructed of Douglas Fir, Pitch Pine or other approved structural timber.

b)	Where possible, only treated timber should be used.  The timber should be sound, straight and well seasoned timber with a moisture content between 15% and 20%.

2.2	Structure (Figs. C-12 and C-13)

a)	No timber framing members should be less than 4" in width.

b)	At all corners and intersections, uprights should be not less than 4" x 4" or 2 members of 2" x 4" each bolted together.  The posts should be fixed to the sills or floor beams by dowel or metal cleats.

c)	Intermediate uprights should be not less than 4" x 2" and spaced at not more than two feet.

d)	The corners of all rooms and intersections should be braced with timber members not less than 2" x 4" and shall be jointed to the upright in such a manner as to leave the upright whole.

e)	The upper sills and wall plates at the outer corners and intersections can be tied with straps at least 9" x 9" x 3" x " secured with 4# 3/8" diameter coach screws not less than 2 " long.

f)	Alternatively, bracing may be effected by 2" x 4" diagonal timber struts in all corners.  It is important to have a tight connection between the wall plates and posts.

(g)	The clear height of a wall should not be greater than 10 feet or as approved by the Board on the basis of structural calculations showing that the wall framing as designed is adequately supported and can withstand the horizontal imposed loads including wind and earthquakes.

2.3	Cladding

a)	The cladding of all external walls must be of approved weather proof material. All cladding must be nailed securely to each framing member.

b)	Where plaster is used as the cladding, it should consist of not less than two coats applied to metal laths which shall be securely fastened to the weather proof backing.

c)	The metal laths may consist of expanded metal sheets, "hy-rib" or other standard materials. Such material must be used in accordance with the manufacturer's instructions.

d)	The first or scratch coat of plaster shall be not less than " thick and shall be kept moist by wetting for not less than 24 hours before applying the second coat which shall also be a minimum of " thick.

e)	Interior walls may be covered by any approved kind of interior partition boards or with plaster as described above.

3.	FLOORS

3.1	Structure

a)	The floor structure for timber floors should consist of 4" x 4" or 3" x 6" sills, bolted to foundation not more than 8'- 0" apart.

b)	The decking may consist of 1" x 6" tongue-and-groove boarding or other similar boarding nailed to each joist.

c)	Where timber floors are to be tiled, the T&G boarding may be replaced by plywood or covered by compressed hardboard sheets.  Both of these systems provide a smooth surface with few joints for the fixing of the tiles. Table E-1 gives the size of pitch pine joist, at 16" centres, to be used in the construction of domestic floors (of not more than 40 psi loading and with other loads such as a ceiling of not more than 7 psi), for various span ranges. The timber joist in this Table is based on material with a fibre stress of 1200 psi.

Table E-1

Recommended Minimum Pitch Pine Joists, Spans & Sizes (at 2 ft. centres)

| Span Range (feet) | Joist size (nominal inches) |
| --- | --- |
| 6 – 8 | 2 x 6 |
| 8 – 10 | 2 x 8 |
| 10 – 12 | 2 x 8 |
| 12 – 15 | 3 x 8 |
| 15 – 20 | 3 x 12 |

Note:	For more precise joist sizes and spans see Table 2.825.1 of Part 2 Section 8 of CUBiC.

3.2	Concrete Floors

a)	Floors may be constructed using reinforced concrete not less than 4" thick with a 9" wide perimeter band thickened to 8" to permit adequate wall fixing and to function as a wall footing.

b)	The floor  shall be supported on firm, compacted material and generally produced in accordance with Section D Subsection 4. (Fig. D-9)

c)	A vapour barrier (damp proof course) should be installed as per Section C paragraph 2.2 e).

4.	ROOFS

4.1	Materials (See Section D Subsection 5)

4.2	Layout (See Section D Subsection 5)

4.3	Construction

Although Section D Subsection 5 will generally apply here, most local timber houses being constructed tend to be smaller than concrete houses. Accordingly, the recommended sizes of roof rafters for roof spans no greater than 20 ft. are as follows:

a)	The ridge beam shall be 1-1/2" x 6" or 1-1/2" x 8" or 2" x 6" depending on the size of the rafter.

b)	Rafters and tie beam should be 2" x 4" at 2'- 0" centres, but 2" x 6" rafters are often used.

c)	Hip rafters shall be 2" x 6".

For roof spans exceeding 30 ft, rafters shall be replaced by trusses.  Professional advice should be sought for the design of such trusses.

4.4	Fixing (See Section D Subsection 5)

a)	All roofs should be so framed and tied into the framework of the supporting walls so as to form an integral part of the whole building.

b)	All rafters should be fixed with metal plates or straps to the wall plates. Bird mouthing is occasionally used but metal straps and bolts provide a firmer connection.

c)	The ends of all trusses are to be directly supported by studs or columns not less than 4" x 4".

d)	All roof fixings must be improved by the use of the appropriate hurricane clips or straps.