SECTION 1

ADMINISTRATION OF THE CODE

Contents

101			TITLE

102			SCOPE

102.1			General

102:2			Rights of Appeal

102:3			Maintenance of the Code

102:4			Breach of the Code

102.5			Applicable Legislation

103			PERMITS AND FEES

104			EXISTING BUILDINGS

105			HISTORIC BUILDINGS

106			HURRICANE PRECAUTIONS

107			ALTERNATE MATERIALS AND TYPES OF CONSTRUCTION

107.1			General

107.2			Standards

107.3			Application

108			UNSAFE BUILDINGS

109			APPLICATION TO BUILD

109.1			General

  - Form of Application to Build

  - Determination of Application

110			PLANS

110.1			General

110.2			Outline Permission

110.3			Detailed Permission

111			APPROVAL IN PART

112			USE OF OTHER CODES AND STANDARDS

113			INSPECTIONS

113.1			Procedure

## 114			Special Inspector

114.1			Requirement

  - Qualifications

114.3                                Selection

114.4			Responsibilities

114.5			Independence

114.6			Procedure for Appointment

115			CERTIFICATE OF OCCUPANCY

116			COMPLIANCE

SECTION 1

ADMINISTRATION OF THE CODE

101			TITLE

This compilation of rules shall be known as "The Grenada Building Code", and may be cited as such, or as the "Building Code," and will be referred to hereinafter as "this Code."

102			SCOPE

102.1			General

(a)	The provisions of this Code shall apply to the design and construction of new buildings, and the alteration, reconstruction, demolition, removal, relocation, maintenance and occupancy of existing buildings or any appurtenances connected or attached to such buildings or structures.

(b)	The appendices included in this Code are not intended for enforcement unless specifically referenced in this Code text. The latest edition of referenced Standards and Codes shall be used where appropriate. The principal reference Code is the Caribbean Uniform Building Code (CUBiC) published by the Caricom Secretariat, Georgetown, Guyana.

(c)	This Code is administered by the Development Control Authority established under the Land Development Control Act (herein after referred to as the Authority). Unless otherwise authorized by the Authority, the Grenada Building Code takes precedence over any other Building Code or Standard.

- New and existing residential and retail commercial buildings having gross floor area of not more than 2,500 sq. feet and two storeys high are exempted from the requirements of this Code provided that such buildings or development conform to the provisions of the Grenada Building Guidelines.

- The standard of this Code shall not apply to the following classes of development:

- Garden huts (other than garages) not used for human habitation

- Gates fences and walls not exceeding three (3) feet in height

102.2		Rights of Appeal

The provisions for appeals against decisions of the Authority under the Land Development Control Act or  successor legislation shall apply in like manner to decisions of the Authority or the Director under this Code.

102.3		Breach of this Code

- The undertaking of building or development contrary to the terms of a Building Permit or the provisions of this Code or without a Building or Development Permit shall constitute a breach of this Code.

b)	The provisions of sections 19, 20, 21, 22, 23, 24, 25, and 26 of the Land Development Control Act shall apply in like manner to breaches of this Code.

102.4		Maintenance of the Code

- For the purpose of ensuring that the provisions of this Code are reviewed regularly in the interest of promoting sound, efficient and safe construction practice in Grenada, the Minister shall within six months of the date this Code comes into effect appoint a  Building Code Review Committee.

- The Committee shall consist of persons representing the following:-

(i)	The Technical Head of the Department of Government responsible for Physical Planning and Development Control, who shall serve as Chairman

- Grenada Bureau of Standards

- Engineers Association of Grenada

- Architects Association  of Grenada

- Environmental Health Department

- Ministry of Communications and Works

- Electrical Inspector

- Fire Services Department

- Building Contractors

- The Committee shall regulate its meeting.

- The Committee shall receive and review comments, submissions and recommendations on the provisions and application of the Code from concern groups and individuals, and make recommendations to the Minister regarding application and updating of the Code.

- The Minister shall dispose of recommendations from the Committee as it deems appropriate but shall inform the Committee and the Authority of his decision regarding such recommendations.

  - Applicable Legislation

- Where provisions of this Code are found to be in conflict with laws of Grenada pertaining to the design, construction and occupancy of buildings or developments the provision mandating the higher standard shall supersede.

- Owners, developers, and applicants should be aware of and consult the following legislation and other relevant legislation in force:

- Land Development Act

-	Electricity Supply Act

- Public Health Act

- Standards Act #6 of 1989 and Standards

developed thereunder

-              Public Health  Regulations SRO 218

-	Fire Brigade Act

-	Water and Sewage Regulations

-	Grenada Building Guidelines

c)	Developers, applicants and owners should also consult the Planning and Infrastructure Standards Manual prepared by UNCHS and the Planning Guidelines prepared by the Authority for guidance with respect to the layout and infrastructure requirements of a development, as well as other standards affecting the safety and health of workers and occupants of  buildings or developments in Grenada.

103			PERMITS AND FEES

- A permit is required whenever work regulated by this Code is to be undertaken. To obtain for a permit the owner shall file an application with the Authority as described in Subsection 109 "Application to Build" and pay the applicable fees established by the Authority.

b)         The Authority shall establish a  fee structure specific to the                                                                          processing  of Applications requiring the services of a                                                                                 Special Inspector as provided for in Section 114 of this                                                                               Code.

c)          The  fees prescribed by the Authority for processing                             development applications requiring the services of a Special                  Inspector may be paid in  two parts as follows:

- The first part when  the Application  is filed with the Authority and

ii)   the remainder  or second part shall be paid before  the                        start of construction work on the approved development.

d) 	After issuance of a permit an application may be made by the developer or owner for a revision of the permit and such application shall be made in the same manner as for the original permit.

e)	The approval of the Authority of proposed work shall be deemed to have lapsed and the right of the owner or developer under the permit terminate if:

i) 	the work authorized by the permit is not commenced within 12 months from the date of issuance of the permit, or

ii)	work is suspended for a period of 24 months or more.

f)	Permit fees payable and all procedures and conditions applicable thereto shall be established by the Authority in accordance with the Land Development Control Act and this Code.

104			EXISTING BUILDINGS

(a)	Alterations, repair or rehabilitation work may be made to any existing building without requiring the building to comply with all of the requirements of this Code provided that all new construction of such alteration, repair or rehabilitation work conforms to the requirements of this Code.

(b	Alterations, repairs or rehabilitation work shall not cause an existing building to become unsafe.

(c)	If the occupancy classification of an existing building is changed, the building shall be made to conform with the occupancy requirements of this Code.

(d)	Repairs and alterations, not covered by the preceding paragraphs of this subsection, on restoring a building to its condition previous to damage or deterioration, or altering it in conformity with the provisions of this Code or in such manner as will not extend or increase an existing non-conformity or hazard, may be made with the same kind of materials as those of which the building is constructed; but not more than twenty-five percent of the roof covering of a building shall be replaced in any period of twelve (12) months unless the entire roof covering is made to conform with the requirements of this Code for new buildings.

(e)	No building shall be removed or demolished without the written approval of the Authority.

105			HISTORIC BUILDINGS

Repairs, alterations and additions necessary for the preservation, restoration, rehabilitation or continued use of a building or structure may be made without conformance to all the requirements of this Code when approved by the Authority, provided:

(a)	The building or structure has been designated by official action of the legally constituted authority as having special historical or architectural significance.

(b)	The restored building or structure will be no more hazardous based on consideration of life, occupancy, fire, sanitation and safety, than the original building.

(c)	The owner has submitted for the approval of the Authority plans and specifications for the work to be carried out. These plans and specifications must be prepared by or under the general supervision of a professionally qualified architect or engineer in consultation with the body responsible for the designation of Historic Buildings.

- The Authority in the interest of public health, safety and               welfare has required all necessary improvements to be made be-     fore use and occupancy of such building.

106                                       HURRICANE PRECAUTIONS

During such periods of time as are designated by the Government as being a hurricane watch, the owner, occupant or user of a property shall take precautions for the securing of buildings and equipment. Fabric, awnings and swing signs shall be lashed to the ground, and such other precautions shall be taken for the securing of buildings, structures, material or equipment as may be reasonably required.

- ALTERNATE MATERIALS AND TYPES OF CONSTRUCTION

107.1			General

The provisions of this Code are not intended to prevent the use of types of construction or materials or methods of designs as alternates to the standards herein set forth. Such alternates may be offered for approval and their consideration shall be as specified in this subsection.

107.2			Standards

The types of construction or materials or methods of design referred to in this Code shall be considered as standards of quality and strength. New types of construction or materials or methods of design shall be at least equal to these standards for the corresponding use intended.

107.3			Application

a)	Any person desiring to use types of construction or materials or methods of design not specifically mentioned in this Code shall file with the Authority proof in support of claims that may be made regarding the safety and sufficiency of such types of construction or materials or methods of design, and request approval and permission for their use.

b)	The Authority shall approve such alternate types of construction or materials or methods of design if it is clear that the standards of this Code are at least equalled. If, in the opinion of the Authority, the standards of this Code will not be satisfied by the requested alternate, it shall refuse approval.

108		UNSAFE BUILDINGS

When any building, construction or excavation or part thereof is in an unsafe condition as a result of being open or unguarded, or because of danger from fire or risk of accident because of its ruinous or dilapidated state, faulty construction or otherwise, due notice to correct such condition shall be given by the Director. When such notice has not been complied with the Director may:

a)	demolish, remove or make safe such building, construction, excavation or part thereof at the expense of the owner.

b)	take such other measures as he/she may consider necessary to protect the public.

109		APPLICATION TO BUILD

109.1		General

A person wishing to erect a building or structure, or to carry out a development as defined in the Land Development Control Act or other legislation in force, shall comply with the requirements of such legislation and the requirements of this Code. All buildings covered by the requirements of Sections 1 to 17 of this Code shall be design and constructed under the general supervision of a professionally qualified architect or engineer licensed to practice in Grenada.

109.2		Form of Application to Build

a)	A person wishing to build may apply in the manner prescribed by the Land Development Control Act or other such legislation in force and the established procedures of the Authority and as herein set forth.

b)	Each application shall be accompanied by the required number and type of plans and fees appropriate to the particular type of development project for which development permission is sought.

c)	Three copies of the relevant plans shall be submitted with each application. These plans include the location plan, the site plan, the subdivision plan if applicable; and the building detail plan.

d)	The information to be contained in a location plan, a site plan, a subdivision plan, a building detail plan and the scales to which these plans are to be drawn shall be as set out in subsection 110 of this Code and the Authority’s guidelines entitled “HOW TO APPLY FOR PERMISSION TO DEVELOP LANDS”.

e)	Every drawing, specifications and accompanying data which accompanies an application for development permission shall be legibly signed by the maker thereof and shall bear the date of preparation.

f)	All drawings shall carry the names of the applicant, specify the nature and location of the development and be individually numbered for ease of reference. Revisions shall carry revision numbers and date.

g)	The Authority may require structural and other details, computations, stress diagrams, the basis of the calculations and other data necessary to describe the construction and they shall bear the name, signature and qualifications, telephone number and address of the person or firm responsible for such details, computations diagrams and calculations.

- Where an alteration or extension to an existing building is applied for, any part of the existing building to be demolished must be clearly indicated and distinguishable from the new construction

  - Determination of Application

(a)       Unless the Authority gives its decision on an Application in writing                                                           the Application shall be deemed to have been refused and the                                                                    Applicant shall have rights of appeal similar to that provided under                                                             the Land Development Control Act or successor legislation.

(b)         Notwithstanding Section 109.3(a), the Authority's decision on an                                                               Application shall be issued in writing not more than four (4)                                                                      calendar months from the date the Application was filed or                                                                         resubmitted as the case may be.

110		PLANS

110.1		General

The plans to be submitted with an application for development permission are as set out in the publication of the Authority “HOW TO APPLY FOR PERMISSION TO DEVELOP LAND” and detailed in this subsection.

110.2		Approval in Principle:	Buildings and Subdivisions

The plans required are:

a)	Location Plan

i)	Where it is available, a copy of the Director of Overseas Surveys Plan must be used the basis for the location plan. These plans are available for most areas of the island and are obtainable at the Lands and Survey office or at the office of the Authority.

ii)	The location plan must be drawn to a scale of:

-	For towns at 1:25000

-	For villages and rural areas at 1:500

iii)	The location plan must show the name and position of existing roads and fixed and easily identifiable points such as streams, road junctions, bridges, and nearby houses.

b)	Site Plan

i)	At the option of the applicant, site plans may be drawn to a scale of 1:200 (1" to 20') or 1:500 (1" to 40') or 1:1000 (1" = 100') as may be appropriate.

ii)	The Site Plan must show:

- The area, boundaries and principal dimensions of the land.

- The location of existing buildings on the land and on the lands immediately adjacent.

- The location and spread of any existing mature trees on the land.

- The location of existing utility lines, poles and stays

- The location of any new proposed building and the relevant dimensions of appropriate setbacks.

- Such contours or spot levels as are necessary for determining the grade of any proposed road and for the proposed drainage.

- Location and width of existing and proposed means of access including roads adjacent to the property.

- Water and sanitary drainage systems.

- The proposed landscaping plan.

- Any land reserved for public access or for public use.

c)	Subdivision Plan

i)	The scale of subdivision plans shall be at least:

- For subdivided areas of 1/2 acre or more, 1:1250

- For subdivided areas of less than 1/2 acre, 1:200

ii)	The subdivision plan must show:

- All relevant physical features related to the proposed development such as water courses, rock outcrops, trees, swamps, and existing buildings, roads and walks.

- Such contours or spot elevations as are necessary for determining the grade of any proposed road and for proposed drainage.

- The boundaries, area, and principal dimensions of the land.

- At least one boundary must be connected to the trigonometrical control station or alternatively, to identifiable points of detail on the national map sheets (scale 1:5000) available at the Survey Department.

- The dimensions and area of each proposed subdivided lot.

- The location of proposed building, if any.

- The roads, walks, and utility services proposed to be made available to each lot.

- The use to which each lot is proposed to be put, e.g. residential, commercial or industrial purposes, or for churches, schools or parks. Residential lots shall be designated as high, medium, or low density. (See Planning and Infrastructure Standards Manual)

- Any land reserved for public access or other public use.

- The proposed location of fire hydrants.

- The location of existing utility line, poles and stays

d)	Building Plans

i)	Conceptual drawings to include:

- Floor Plan generally to Scale 1/8" or 1/4" to 1' 0" or metric equivalent

To show:

- room sizes

- materials used in construction

- Elevations and Sections generally to Scale 1/4" to 1' 0" or metric equivalent.

To show:

- roof heights (floor to ceiling) and pitch

- height of main floor above ground

- positioning of doors and windows

e)	Sewage disposal

General statement of the type of plant or septic tank to be used and its location where the development is not or will not be connected to a public system.

e)	Water catchment

If the development is not on a public supply, a statement on the type and location of catchment proposed where the development is not or will not be connected to a public supply.

110.3		Final Permission:	Buildings

The following plans must be supplied for final Permission to construct buildings:  The metric equivalent of imperial scales shown will be accepted.

Three copies of:

- Floor Plan – Scale ¼” = 1” – 0, or 1/8” = 1’ – 0”

To show:

- general floor layout

- dimension of spaces

- width of openings

- thickness of walls

- materials of construction

- Sections ¼” = 1’ – 0” or large

To shown:

- roof height and pitch

- floor heights – ground to floor/floor to ceiling

- height of openings

- materials of construction

- Elevations – At least three

To show:

- general architectural style of the building

- position of openings

d)	Foundation Plan

To show:

- general foundation type proposed

- type of soil on which the foundation will rest

e)	Structural Plan

To show:

- details of beams, columns and slabs

- details of all walls

- roof design and construction details

- foundation details, piling etc

- details of water cisterns and catchments where required

- all reinforcement details

f)	Plumbing

To show:

- location of inspection boxes, grease traps etc

- sizes and slopes of the pipes used in the sewer lines

- location of shut-off valves

- size and location of pumps

g)	Water Supply

- sizes of water lines

- water storage and catchment details

h)	Sewerage

- details of septic tanks and soakaways where needed

i)	Electricity

To show:

- electrical layout

- amount of wires in conduit and wire gauges

- numbers of circuits

- panel sizes and locations

- For the grant of a Building Permit, the Authority may also require submission of all calculations for the determination of sizes of structural members and walls, water catchments, sewage treatment and disposal facilities where required.

ii)             Depending on the size of the proposed building, the Authority may                                                            accept the electrical and/or plumbing layout on the Floor Plan.

111		APPROVAL IN PART

- Where approval of a portion of a building or development is desired prior to the issuance of a final permit for the whole project, application shall be made for approval of the complete development in principle in accordance with the Land Development Control Act and subsection 110.3 of this Code and detailed plans for that part which immediate approval is desired shall be filed with the Authority.

b)	The Authority shall not grant approval in part in respect of any development before granting approval in principle for the whole of such development.

112		USE OF OTHER CODES AND STANDARDS

a)	The Authority shall require that the laws, rules and regulations of any other regulatory body or authority having jurisdiction, where such laws, rules and regulations are applicable and are known to the Authority, shall be satisfied before a permit shall be issued.

b)	The Authority shall require such evidence, as in its opinion is reasonable, to show such other approvals.

c)	All tests required by the Authority to show that materials and methods of construction proposed by the applicant meet the requirements of this Code shall be carried out by the applicant at his expense. The testing agency to be used by the applicant must be approved by the Authority.

d)	The Authority shall publish annually in the Official Gazette a list of the Codes and Standards approved for use with this Code, and such list shall be available for public information and inspection at the office of the Authority during normal working hours.

113		INSPECTIONS

113.1		Procedure

a)	No person shall commence development authorised under this code without notifying the Director.

b)	The Director, upon receipt of at least 48 hours notice from the applicant, owner, developer or builder, exclusive of Saturdays, Sundays and declared Public Holidays, is authorised to make the following inspections and either approve the portion of the works completed or shall notify the owner, developer or builder in writing where such work does not meet with his approval:

(i)	SETTING OUT

(ii)	FOUNDATIONS BEFORE CONCRETING

(iii)	STRUCTURAL FRAME AND ROOF

(iv)	RING BEAMS CASING AND REINFORCEMENT

(v)	PLUMBING AND DRAINS

(vi)	ELECTRICAL WORKS - IN ASSOCIATION WITH THE GOVERNMENT ELECTRICAL INSPECTOR

(vii)	OTHER INSPECTIONS TO BE MADE AS THE OWNER, BUILDER OR DIRECTOR MAY REASONABLY REQUIRE

(viii)	SPECIAL INSPECTIONS OF ALL MECHANICAL INSTALLATIONS

(ix)	FINAL INSPECTION (OCCUPANCY CERTIFICATE)

- c)           Work shall not be done on any part of a building or structure beyond the                                       point indicated in each successive inspection without first obtaining the                                        written approval of the Director. Such written approval shall normally be                                     given only after an inspection shall have been made of each successive                                         step in the construction as indicated by each of the foregoing nine                                                 inspections where appropriate. Written approval may be issued on site in a                                    form authorised by the Authority.

d)         Reinforcing steel or structural frame work of any kind part of any building                                                 shall not be covered or concealed in any manner whatsoever without first                                                   obtaining the approval of the Director

e)           If the Director fails to make an inspection within 48 hours of the receipt of  the                                           Notice required under Section 113.1(b), the builder may proceed to the next                                               stage of construction work without the written approval of the Director but this                                           does not absolve the applicant, owner, developer or builder from the                                                           responsibility of any construction in contravention  of the Building Permit, this                                           Code or any other applicable legislation or regulation.

f)         Notwithstanding subsection 113:1(d) the Director in his discretion may

waive any of the inspections listed in subsection 113.1(b) in writing to the applicant, developer or  builder, but this does not absolve the applicant, owner, developer or builder from the responsibility of any construction in contravention of the Building Permit, this Code or any other applicable legislation or regulation.

114		SPECIAL INSPECTOR

114.1		Requirement

a)	Where the proposed construction is complex or falls within the categories listed in subsection 114.1 (c) the Authority may refer the plans to a Special Inspector for review. The Special Inspector shall assess the design or application for compliance with the provisions of this Code, as well as inspect the works for compliance with the Building Permit during construction of the approved development; and generally  assist the Authority by contributing to the prevention of technical errors which may occur during the design and execution of the works.

- The Authority may  engage the services of a Special Inspector for any or all of the required inspections in subsection 113.1(b).

- c)      The Special Inspector shall be appointed by the Authority in consultation          with he Applicant and shall report to the Director on those aspects of the           design and work he or she is engaged to review and inspect. All such                 reports shall be copied to the Applicant.

- Payment for the services of the Special Inspector shall be met by the Authority from fees paid by applicants for the processing of such applications. The fees and method of payment shall be agreed to between the Special Inspector and the Director. The Authority and the Applicant shall be informed  of such agreement.

- e)           The Authority may in consultation with the Engineers and Architects                                                         Association of  Grenada establish a scale of fees for the purpose of                                                              engaging the services of Special Inspectors.

f)	The Authority may assign more than one Special Inspector to a building or development provided that each Special Inspector is assigned a major, important and special component of such building or development works to inspect.

f)	The Special Inspector shall be appointed for the following projects:

(i)	Buildings or structures (or part thereof) of unusual design or method of construction.

(iii)	Foundations and structural engineering work for installation of equipment such as elevators, power plants and water and sewage treatment plants.

(iii)	Public buildings in Groups A, B, C and F (Section 3 of the Code) and other buildings so designated by the Authority.

g)	For certain other projects such as those listed here under, the Authority may impose the condition requiring the use of a Special Inspector as follows:

(i)	Major foundations and/or pile driving.

(ii)	Major site works.

(iii)	Drainage and waste disposal works for buildings.

  - Selection

- The Special Inspector shall be selected for appointment from  a list of experienced and professionally qualified engineers and architects compiled by the Authority in consultation with the Engineers Association of Grenada and the Architects Association of Grenada.

- The Authority shall review the list of Special Inspectors every six months and caused such list to be published in the Grenada Official Gazzette.

  - Qualification

- A Special Inspector must be licensed to practice engineering or architecture in Grenada and be a member of the Engineers Association of Grenada or the Architects Association of Grenada, or a member of an engineering or architectural organisation recognised by the Engineers Association and/or Architects Association of Grenada.

b)	A Special Inspector shall be an experienced and professionally qualified engineer or architect of the relevant discipline for the development he or she is being appointed to inspect.

114.4		Responsibilities

a)	The Special Inspector shall:

- review and assess all plans relating to the development in accordance with the Building Permit, this Code or other approved Code and acceptable building practices,

- inspect the structures or the part thereof he or she is authorised to inspect during construction for compliance with the Building Permit, this Code or other applicable standard.

- Report in writing to the Director and the Applicant on compliance of the design and construction with the terms of this Code and Building Permit and/or other approved Code as the case may be.

- recommend steps to be taken to remedy any breach of the Code or Permit

b)	The Applicant shall give the Special Inspector at least 48 hours notice when an inspection is required and such notice shall be copied to the Authority.

c)	Notwithstanding subsection 114.3 (b), the Special Inspector may at any reasonable time enter upon the land to which the development he or she is appointed to inspect relates, for the purpose of carrying out duties assigned to Special Inspectors under this Code, provided that the  contractor is given at least 24 hours notice of such intended entry, and shall provide evidence of his or her authority if required to do so by the owner, developer or contractor.

d)	The Special Inspector shall not be held responsible for the failure of the owner, developer or contractor to comply with the terms and conditions of a building permit, or the provisions of this Code, or  obligations under any agreement related to the building or development the Special Inspector is  authorised to inspect.

- At the completion of the construction work, the Special Inspector shall submit a Certificate of Compliance to the Director if he or she considers that the work was done in compliance with the Building Permit and the Code. The duties of the Special Inspector shall end with the submission of such certificate.

114.5		Independence of the Special Inspector

The Special Inspector shall not have been engaged in any capacity in the development for which she/he is being appointed Special Inspector and shall have no ties to the applicant, builder or owner which may affect his independence on the project.

114.6		Procedure for the Appointment of a Special Inspector

a)	The Authority shall observe the following procedures for the appointment of the Special Inspector(s) for a development:

- Within 14 days from the date of receipt of an application for approval in principle or final approval, the Director shall inform the Applicant as to whether a Special Inspector(s) will be required  for the development and the field of specialization of such Special Inspector(s).

- Upon receipt of such notice the Applicant and the Director shall meet to select the Special Inspector(s) for appointment from the published list of Special Inspectors and notify the appointee accordingly.

- The Authority and the appointee(s) shall confirm acceptance of the Director's recommendation of appointment in writing.

- In cases where the Special Inspector is required for the review of the development application and inspection of construction the Director shall proceed to refer the plans to the Special Inspector with instructions.

- Upon receipt of such plans and instructions the Special Inspector shall advise the Authority on the technical adequacy of the proposal relative to the Code, other relevant regulations and acceptable building and development practice.

- Following the grant of the Building or Development Permit  but prior to the commencement of the approved building or development works the Director, Special Inspector (s) and the Applicant shall meet to agree on the method of payment for inspections and to develop terms of reference for inspections.  Such agreement and terms of reference shall be to the satisfaction of the Authority.

- The Applicant shall inform the Director and Special Inspector  of the date the building or development will commence and give all notices required under the Code, Building Permit and

- the terms of reference of the Special Inspector in a timely manner.

# 115 		CERTIFICATE OF OCCUPANCY

a)	A new building shall not be occupied or a change made in occupancy or the nature of the use of a building or part of a building changed until after the Authority shall have issued a Certificate of Occupancy.

b)	Upon completion of a building erected in accordance with approved plans and after final inspection herein referred to, and upon application therefor, the Authority shall issue a Certificate of Occupancy stating the nature of the occupancy permitted.

c)	A temporary certificate of occupancy may be issued for a portion or portions of a building which may safely be occupied prior to final completion of the building.

d)	Final inspection shall be made by the Director or Special Inspector, as the case may be, before a Certificate of Occupancy is issued.

e)	A Certificate of Occupancy shall not be issued until the necessary Certificates of Approval in respect of electrical works have been issued by the Electrical Inspector in accordance with electricity regulations in force.

117		COMPLIANCE

a)	The issuance and granting of a permit shall not be deemed or construed to be a permit for, or an approval of, any violation of this Code.

b)	The issuance of a permit upon plans and specifications, shall not prevent the Authority  or Director, as the case may be, from thereafter requiring the correction of errors on such plans and specifications, or from preventing building operations being carried on thereunder when in violation of this Code or any Regulations applicable thereto.

- When during the construction of the work carried out under the permit, the Authority or Director, as the case may be,  reasonably believes that approved plans are in violation of this Code, it shall notify the permit holder and the permit holder shall correct the drawings or otherwise satisfy the Authority or the Director that the design and/or working drawings are in compliance with this Code.

- The permit granted for the construction of the work shall be available at the construction site during normal working hours for inspection by the Director or other persons

- authorised to carryout inspections under this Code.